## Gauge Field Check Worksheet
DG-700 and DG-1000 Field Check Worksheet
Todays Date:
Gauge to be Checked: Serial Number, Factory Calibration Date:
Reference Gauge Serial Number, Factory Calibration Date:
TEC (The Energy Conservatory) | Measurements |  |  | Difference |  | Requirement | Results
Gauge Field Check | REF Gauge | Field Check Gauge |  | Gauge - Ref (Pa) |  | 1% Agreement | Pass / Fail
Target Pressure | CH A (Pa) | CH A (Pa) | CH B (Pa) | CHA - REF | CHB - REF | Max Delta (Pa) | CH A | CH B
+500 Pa |  |  |  | 0 | 0 | 0 | PASS | PASS
+50 Pa |  |  |  | 0 | 0 | 0 | PASS | PASS
-50 Pa |  |  |  | 0 | 0 | 0 | PASS | PASS
-500 Pa |  |  |  | 0 | 0 | 0 | PASS | PASS
Field Check Process Overview
1. Fill in Information regarding Gauge being checked and reference gauge (Yellow Fields at Top).
2. Make (or request from TEC) a "Gauge Calibration Comparison Kit, including:
Syringe as pressure source (1 ml)
25-30 feet of tubing to prevent over pressurizing
(2) “T's” to connect the tubing
(4) pieces of tubing cut into 6 inch lengths
3. Connect Reference and Gauge being checked as shown in the diagram to the right
4. Enter readings in yellow fields above to determine PASS/FAIL of Gauge
Sheet calculates 1% requirement in Pascals (Pa) based on reference gauge reading
PASS implies the gauges are reading within 1% of each other
FAIL means the gauges are not reading within 1% of each other, and may need to be factory calibrated

## Example
DG-700 and DG-1000 Field Check Worksheet
Todays Date: |  | 2020-06-20
Gauge to be Checked: Serial Number, Factory Calibration Date: |  |  |  | 123456, 4-July-2019
Reference Gauge Serial Number, Factory Calibration Date: |  |  |  | 456789, 5-May-2020
TEC (The Energy Conservatory) | Measurements |  |  | Difference |  | Requirement | Results
Gauge Field Check | REF Gauge | Field Check Gauge |  | Gauge - Ref (Pa) |  | 1% Agreement | Pass / Fail
Target Pressure | CH A (Pa) | CH A (Pa) | CH B (Pa) | CHA - REF | CHB - REF | Max Delta (Pa) | CH A | CH B
+500 Pa | 497.5 | 498.1 | 498.2 | 0.6 | 0.7 | 4.975 | PASS | PASS
+50 Pa | 50.3 | 50.2 | 50.5 | -0.1 | 0.2 | 0.503 | PASS | PASS
-50 Pa | -49.9 | -50.3 | -50.5 | -0.4 | -0.6 | -0.499 | PASS | FAIL
-500 Pa | -502.1 | -505.2 | -504.6 | -3.1 | -2.5 | -5.021 | PASS | PASS
Field Check Process Overview
1. Fill in Information regarding Gauge being checked and reference gauge (Yellow Fields at Top).
2. Make (or request from TEC) a "Gauge Calibration Comparison Kit, including:
Syringe as pressure source (1 ml)
25-30 feet of tubing to prevent over pressurizing
(2) “T's” to connect the tubing
(4) pieces of tubing cut into 6 inch lengths
3. Connect Reference and Gauge being checked as shown in the diagram to the right
4. Enter readings in yellow fields above to determine PASS/FAIL of Gauge
Sheet calculates 1% requirement in Pascals (Pa) based on reference gauge reading
PASS implies the gauges are reading within 1% of each other
FAIL means the gauges are not reading within 1% of each other, and may need to be factory calibrated